## Slide 1: Press Energy Services, LLC
Spill Protection/Prevention

## Slide 2: Drivers
Must be properly trained on valves and connections
Must know how to properly operate pumps
Be aware of task at hand
Ensure gaskets in place properly
Inspect Camlocks for integrity

## Slide 3: Valve Buckets
Buckets placed under valves to capture potential leaks from valves

## Slide 4: Pressure Release Valves

## Slide 5: Spill Prevention Tools

## Slide 6: Spill Containment Berms

## Slide 7: Spill Procedures
In event of spill:
  Properly contain the leak source
  Notify Management immediately
  Remove any soil in affected area and place in bucket
  Appropriate disposal of soil at yard